## Slide 1: AUTOMATED CARDIOTHORACIC RATIO CALCULATION AND CARDIOMEGALY DETECTION
[DEEP LEARNING]
Rabia Zafar
[PHDCSF21M503]
College of Information Technology, University of the Punjab, Lahore
Jan 18, 2022

## Slide 2: What is Cardiomegaly?
Cardiomegaly is a medical condition in which the heart is enlarged..

## Slide 3: Motivation
Chest X-ray, or CXR, is widely used in diagnosing abnormal conditions in the chest and nearby structure.
Radiologists routinely perform cardiothoracic ratio (CTR) measurement on antero-posterior chest radiographs to diagnose Cardiomegaly, a condition that is strongly correlated with both congenital and congestive heart diseases.
Picture Archiving and Communication Systems (PACS) include drawing tools to aid the assessment of CTR,
the process is still often labor intensive and time consuming. Manual labeling of organ boundaries and calculation of CTR is prone to error and can lead to faulty interpretations.

## Slide 4: Cont…
Recent advances in machine learning have introduced a wide variety of image processing and machine learning techniques have been shown to yield competitive performances in automated detection of diseases in X-ray images.

## Slide 5: CTR
CTR as one of the most important indicators of cardiomegaly due to the simplicity of the calculation.
CTR of a chest X-ray image is calculated as cardiac diameter (the diameter of the heart) divided by the thoracic diameter (the diameter of the chest).
CTR = (TD)/CD)
TD=MRD+MLD,
Midline-to-right heart diameter : MRD
Midline-to-left heart diameter : MLD

## Slide 6: Methodology
Two Approaches are used
Using Traditional Method
  Lung Segmentation
  CTR Calculation
Using Convolutional Network

## Slide 7: Dataset
Dataset | Total |  | Train/Val/Test
Kaggle | 342 |  | 243/59/40
NIH from Kaggle | 5547 |  | 4438/493/616
NIH CHEST X-ray14 | ALL | 5550 | 4006/772/772 1006/260/260
 | Cardio | 1526 | 

## Slide 8: Lung Segmentation
Lung Segmentation is done by using pre trained model that uses ResNet34 as Neural Network

## Slide 9: ResNet34
In CNN-based architecture more layers in a deep neural network to reduce the error rate. This works for less number of layers, but when we increase the number of layers, there is a common problem in deep learning associated with that called Vanishing/Exploding gradient. This causes the gradient to become 0 or too large. Thus when we increases number of layers, the training and test error rate also increases.

## Slide 10: ResNet34
Vanishing gradient: When the network is too deep, the gradients from where the loss function is calculated easily shrink to zero after several applications of the chain rule. This result on the weights never updating its values and therefore, no learning is being performed.
With ResNets, the gradients can flow directly through the skip connections backwards from later layers to initial filters.

## Slide 11: Result of Segmentation

## Slide 12: CTR Calculation
It is done by using traditional image Processing.
Algorithm: CTR calculation
Input-Segmented Image
Output-CTR
Step1: load segmented image
Step 2: Draw a rectangle bounding box around lungs automatically
Step 3: save width of bounding box as CR.
Step 4: Calculate mid in y-direction
Step 5: Calculate ¾ in x–direction
Step 6: Calculate MRD and MLD
Step 7: Calculate CTR=TR/CR

## Slide 13: Methodology
Radiograph
Segmented Image
Bounded Segmented Image having w width and h height
CTR=MRD+MRL
Final Image
Bounded Rectangle
Generation
Lung Segmentation
ResNet34

## Slide 14: Methodology
Convolutional Network
  3 convolution layer
  3 Max-pooling layer (2,2)
  5 layer MLP
  RELU activation function
  Sigmoid

## Slide 15: Results
Accuracy Attained 82%
Reason:

## Slide 16: Results
Dataset | Method | Accuracy |  | 
 |  | Train | Val | Test
Kaggle | CNN without regularization | 0.10 | 0.91 | 0.80
 | CNN with regularization | 0.98 | 0.89 | 0.82
NIH from kaggle | CNN without regularization | 0.99 | 0.73 | 0.74
 | CNN with regularization | 0.98 | 0.71 | 0.70
NIH | CNN without regularization | 0.97 | 0.81 | 0.82
 | CNN with regularization | 0.86 | 0.81 | 0.78

## Slide 17: Git-Hub Link
PROJECTCV21/Deep-Learning-Project: AUTOMATED CARDIOTHORACIC RATIO CALCULATION AND CARDIOMEGALY DETECTION USING IMAGE PROCESSING AND DEEP LEARNING (github.com)

## Slide 18: Thank You!